Contents

1.	Purpose	2

2.	Scope	2

3.	Responsibilities	2

4.	Guidelines	3

# Purpose

This policy aims to prevent unauthorized access to physical areas, as well as to protect equipment and facilities that if compromised, by human or natural intervention, could affect information assets or business operations.

# Scope

This policy is applicable to:

- All IT supported business processes and IT operations,

- Information assets hosted by Namlog HQ or on behalf of Namlog HQ,

- Employees of Namlog and,

- Third parties supporting IT operations

# Responsibilities

The General Manager Information Systems is constituted to approve the Policies for implementation. The policies will be supported by procedures, which detail the technology specifications, requirements and implementation process for complying with the policies.

The Managing Director is the highest level for Information Security governance and shall be responsible for evaluation, direction and oversight of Information Security compliance at Namlog.

General Manager Information Systems –

- Approve the Policies and any subsequent modifications.

- Advising for effecting changes to the Policy & Procedures documents

- Conducting information security compliance reviews of all applications, information assets & processes in Namlog

- Granting and removing of access rights

- Segregation of roles and responsibilities of employees in IT Operations department where the organizational structure allows such

- Report compliance audit results to the Commercial Department

Commercial Department –

- Assure the integrity of the approved ISMS policies and procedures within the existing QMS.

- Ensure risk assessment with respect to ISMS is conducted regularly.

- Ensure that ISMS internal audits are carried as per the internal audit plan and management review meetings will cover ISMS.

- Ensure that regular review of ISMS documents are carried out as per the document control procedure.

- Investigation of breaches, reporting and recommendation of findings.

Department Heads –

- Implementing and enforcing the relevant portions of the policies within their functions.

Employees & Contractors – Comply to policies

Managing Director –

- Approval of any exceptions to the policy.

# Guidelines

1. Policy Statement

1.1 Secure areas

1.1.1 Physical security perimeter

- Physical Access Authorizations to Namlog site is managed by security

- Identification is a main requirement to give access permission to Namlog sites

- For access to data centre and critical IT assets it is required to be escorted by IT personnel

- For Physical Access to data centre and critical IT assets by external parties or non IT staff approval for access has to be obtained by the General Manager Information Systems

- Electronic Access Logs should be maintained

- Access Control is restricted to all Namlog Transmission Mediums such as Core switches, CCTV, servers, firewalls etc.

- Namlog visitor will be given a permission to IT assets facilities only based on business need.

1.1.2 Protecting against external and environmental threats

- All Namlog IT assets should have physical protection measures against natural disasters, malicious attack, accidents or incidents

- Namlog data centre shall be equipped with these physical controls:

- Smoke detectors

- Fire suppressing system

- Fire Alarm

- CCTV cameras

- Un interrupted Power Supply

- Backup Power Supply

- Air conditioning

- Namlog data centre door shall be made of built and fire-proof materials.

- Namlog data centre walls shall be fire rated and provide 2 hours of protection against fires from the outside.

- Should any of above measures not be in a working order immediate actions must be taken to rectify the problems and management should be notified immediately.

1.1.3 Working in secure areas

- Namlog employees and guests should only be aware of the existence of, or activities within, a secure area on a need-to-know basis.

- Unsupervised working in secure areas should be avoided both for safety reasons and to prevent opportunities for malicious activities.

- Vacant secure areas should be physically locked and periodically reviewed.

1.2 Equipment

1.2.1 Equipment placement and protection

- All Servers to be located inside Data Centre.

- All core switches to be located inside Data Centre or in locked place with Air conditioning, Power Redundancy , Fire suppressing system.

- All communication devices to be located in a secured location.

- All routers, firewall, critical infrastructure devices to be located inside data centre or in a secured location with enough physical controls.

- All IT assets to work under conditions which will not damage the asset.

- All access to IT assets is restricted with justification and approval from asset owner.

- All Food and drinks are not allowed inside data centre.

- Smoking is not allowed in IT working area.

- Motion detector to be installed inside data centre.

- CCTV to be used to monitor all IT locations.

1.2.2 Supporting utilities

- All DC assets to be protected against all hazards with physical controls such as (Uninterrupted Power Supply, Air Conditioning, Fire suppressing system, Motion detector, Flood detectors  ...etc.)

- Capacity shall be assessed after expansion is planned.

- Periodical test of all supporting utilities shall be executed by IT.

- Alarm system to be installed in data centre, Backup DC, Warehouse, Switching rooms and other critical locations.

1.2.3 Cabling security

- All cables shall be labelled

- Cables shall be grouped together in panels

- Cables shall be isolated from electric cables

- Lose connections and connecting two cables are not allowed

- CAT \5 or above and Fiber optics cables are used based on the distance and bandwidth.

- Communication cables shall be underground whenever it is possible

- Unauthorized device shall not be connected to network cables

1.2.4 Equipment maintenance

- All IT Data centre assets should have a Preventive maintenance plan

- A maintenance report to be reported every 3 months to General Manager Information Systems and statistical data to be maintained and forwarded to Commercial Department to be in the company database.

- Critical IT assets shall have SLA signed with vendors

- All maintenance operations to be logged and documented

- Prior maintenance notification shall be sent to user with downtime expected

- IT assets shall be inspected after maintenance and before starting the operation

1.2.5 Removal of assets

- All employees authorized and trained to remove assets from site shall be identified

- External parties shall not remove IT assets from site without assessment to impact by IT department and should be escorted by IT employee.

- Technical report shall be reported to IT head for all data centre assets and core IT assets

- Fixed assets records shall be updated with the movement by IT function manager

- All assets removal shall be planned and impact of removal to be assessed

- IT critical service assets shall not be removed without having redundancy in place

- All removed assets shall be checked and inspected at check points and approved for removal out of Namlog site.

1.2.6 Security of equipment and assets off-premises

- All IT assets to work as per the manufacturer instructions

- Whenever possible guidelines to use the equipment shall be printed beside the IT asset.

- IT assets shall be protected while transfer

- IT assets ownership to be defined clearly

- IT assets risk shall be identified, mitigated and documented in the risk document.

1.2.7 Secure disposal or reuse of equipment

- All servers’ hard disks to be damaged if server is disposed

- All data on portable devices shall be securely erased from device to be reused

- All passwords and accounts to be removed from servers, workstations and portable devices before disposal.

1.2.8 Unattended user equipment

- Log off automatically if not attended

- Terminate sessions after 15 minutes if not active on workstations and servers

- All unattended device to be protected with password

- CCTV shall be used to monitor untended IT assets where applicable.

1.2.9 Clear desk and clear screen policy

- Sensitive or critical business information, e.g. on paper or on electronic storage media, should be locked away (ideally in a safe or cabinet or other forms of security furniture) when not required, especially when the office is vacated.

- Computers should be left logged off or protected with a screen and keyboard locking mechanism controlled by a password, token or similar user authentication mechanism when unattended and should be protected by key locks, passwords or other controls when not in use.

- Unauthorized use of photocopiers and other reproduction technology (e.g. scanners, digital cameras) should be prevented.

- Media containing sensitive or classified information should be removed from printers immediately.

2. Review Period

The policy will be reviewed by the General Manager Information Systems on an annual basis or as mandated by a major change in the business, legal, regulatory or other compliance requirements.

3. Enforcement

3.1 Policy Violation

Violation of the policy shall result in corrective action as per DVD. Disciplinary action shall be consistent with the severity of the incident, as determined by the investigation, and may include, but not limited to

- Warning letter

- Removal of access privileges to information assets.

- Termination of employment or contract.

- Other actions deemed appropriate by management, HR department and Legal department.

3.2 Policy Waiver

Any exception to this policy has to be formally approved by the Managing Director and documented.