PURPOSE

The purpose of the Diesel Attendant Operations Standard Operating Procedure (SOP) is to provide clear guidelines for operational departments on diesel attendant’s operations process.

SCOPE

The SOP is applicable to operational personnel who are responsible for overseeing diesel operations.

PROCESS

- Take dip readings of fuel tanks and record the readings on the "Depot - Daily Diesel Capture Sheet” before the start of the shift every morning.

- Make sure no vehicles were filled up after knocking off that was not recorded.

- If the opening for today does not correspond with the closing of the previous day, report immediately to

- Wright down all detail regarding vehicle be filled up.

- Make sure to wright down the correct km/Hr of the vehicle/forklift.

- Keep the tanks and the surrounding area clean.

- Report any defects.

- Know where the shut off valves are located.

- Know where the emergency stop buttons are located.

- Clean all diesel spillage immediately.

- Before receiving diesel, make sure the seals are not broken and the num are the same as on the paperwork. If something doesn’t look right, don’t except. Call your manager.

- After receiving diesel take dip readings again.

- Make sure that the delivery truck is empty before it leaves.

- Calculate: dip + received = final dip, report any surplus or shortage on a separate sheet.