	[image: image1.png]¥ |





	Lockout / Tagout (LOTO) Operational Control Procedure

	
	
	
	
	



Purpose 

This procedure establishes the minimum requirements for lockout and tagout of energy sources that could cause injury to personnel. All employees shall comply with the procedure.
Scope
All operations related to equipment and systems maintenance work, installation, testing and similar activities at any SMSA facility, operation, or project that is associated with any safety risk, or that may potentially be associated with such a risk. The scope covers equipment, lines or systems that involve the following components: 
· Electrical
· Mechanical

· Pneumatic

· Hydraulic

· Chemical

· Fuel

· Confined space
Definitions  

None.

Responsibilities
Overall responsibility is on the site Managers

However, the implementation of this procedure ensuring that it is being followed is binding upon all employees. All employees shall be instructed in the safety significance of the lockout procedure by designated individual. Each new or transferred affected employee shall be instructed on the purpose and use of the lockout procedure
Requirements

Preparation for Lockout

Employees authorized to perform lockout shall be certain as to which switch, valve, or other energy isolating devices apply to the equipment being locked out. More than one energy source (electrical, mechanical, or others) may be

involved. Any questionable identification of sources shall be cleared by the employees with their supervisors. Before lockout commences, job authorization should be obtained

Sequence of Lockout Procedure

1. Notify all affected employees that a lockout is required and the reason therefore.

2. If the equipment is operating, shut it down by the normal stopping procedure (such as: depress stop button, open toggle switch).

3. Operate the switch, valve, or other energy isolating devices so that the energy source(s) (electrical, mechanical, hydraulic, other) is disconnected or isolated from the equipment.

4. Lockout energy isolating devices with an assigned individual lock.

5. Stored energy, such as that in capacitors, springs, elevated machine members, rotating fl y wheels, hydraulic systems, and air, gas, steam or water pressure, must also be dissipated or restrained by methods such as grounding, repositioning, blocking, bleeding down.

6. After ensuring that no personnel are exposed and as a check on having disconnected the energy sources, operate the push button or other normal operating controls to make certain the equipment will not operate.

7. CAUTION: Return operating controls to neutral position after the test. 
8. The equipment is now locked out.
9. Signs, tags, padlocks, and seals must have means by which they can be readily secured to the controls. Tagout device attachment means shall be of a non-reusable type, attachable by hand, self-locking, and non-releasable with a minimum unlocking strength of no less than 50 pounds.
10. Use the form related to the work permit procedure
[image: image2.jpg]


[image: image3.png]



Restoring Equipment to Service

1. When the job is complete and equipment is ready for testing or normal service, check the equipment area to see that no one is exposed.

2. When equipment is clear, remove all locks. The energy isolating devices may be operated to restore energy to equipment.

Procedure Involving More Than One Person
In the preceding steps, if more than one individual is required to lock out equipment, each shall place his/her own personal lock on the energy isolating device(s). One designated individual of a work crew or a supervisor, with the knowledge of the crew, may lock out equipment for the whole crew. In such cases, it may be the responsibility of the individual to carry out all steps of the lockout procedure and inform the crew when it is safe to work on the equipment. Additionally, the designated individual shall not remove a crew lock until it has been verified that all individuals are clear.

[image: image4.png]



Closing Rules for Using Lockout Procedure
1. Prior to start-up of the equipment, inspect the area to ensure that ALL employees, contractors and any other personnel are safely positioned.

2. When production is ready, verify that equipment is operating correctly.

3. Close out any applicable permit/s and return them to your supervisor
Page 1 of 1
Uncontrolled copy if printed
Document No. 4155


Version 3

