## Sheet1 (hidden)
Location | Alarm System | Access Control | UPS (backup power supply)
Dammam – KFIA Gateway | Make/Model: Paradox MG-5050 with TM 50 interactive panel | Make/Model: ZKTeco [SC503 - Access Control By Card & Serial Number
access control device] - Magnetic - Lock - AL280 for wood/or/metal door
| Sensors: Total 20 sensors. Wireless sensors covering 13 shutters, 1-server room,1- main entrance, 3 emergency exits , 1 security room and 1 PIR sensor on glass window. In addition 1-wired panic key connected to the main panel in security room | BIO-EX801B Exit Button
(access on Biotime 8.5)
| System Features: GSM, Separate wireless repeater, connected small backup battery | 4 devices covering security room, entry/exit doors and office to warehouse entry doors
Make/Model: Hawk – Same as in Medina
Khamis Mushayt– OPS | Make/Model: Paradox MG-5050 with TM 50 interactive panel | Make/Model: ZKTeco [SC503 - Access Control By Card & Serial Number
access control device] - Magnetic - Lock - AL280 for wood/or/metal door
| Sensors: Total 12 sensors. Wireless sensors covering 4 shutters, 1-server room , 4 emergency exits and 3 PIR sensor on main entrance glass door and security room glass door. In addition 1-wired panic key connected to the main panel in security room | BIO-EX801B Exit Button
(access on Biotime 8.5)
| System Features: GSM, Separate wireless repeater, connected small backup battery | 5 devices covering security room, entry/exit doors and office to warehouse entry doors
Make/Model: Hawk – Same as in Medina
Location | Current Installation | Solutions Required (Scope of work) | Number of Employees at the Facility
Dammam – KFIA Gateway | Paradox MG-5050 IDS system with TM 50 interactive panel is in place: | -Reporting access required over the IDS including training
| 20 sensors wireless covering Shutters, entry/exit doors, server room. | -Re configuration of IDS to debug network/connection failures (Might require additional repeater)
-configuration of GSM functionality on IDS
| ZKTeco [SC503 - Access Control By Card & Serial Number | -Glass sensors for windowsx2
| access control device] - Magnetic - Lock - AL280 for wood/or/metal door | -Wall cabinet for NVR
| BIO-EX801B Exit Button | -Periodic preventive maintenance (for IDS and access system)
| (access on Biotime 8.5) | 3 visits /year
| 4 devices covering security room, entry/exit doors and office to warehouse entry doors | -Panic alarm tests | 50
Madina Station | Paradox MG-5050 IDS system with TM 50 interactive panel is in place: | -Reporting access required over the IDS including training
| 12 sensors wireless covering Shutters, entry/exit doors, server room. | -Re configuration/ testing of IDS to debug network/connection failures
-configuration of GSM functionality on IDS
| ZKTeco [SC503 - Access Control By Card & Serial Number | -Periodic preventive maintenance (for IDS and access system)
| access control device] - Magnetic - Lock - AL280 for wood/or/metal door | 3 visits /year
| BIO-EX801B Exit Button | -Panic alarm tests
| (access on Biotime 8.5) |  | 65
5 devices covering security room, entry/exit doors and office to warehouse entry doors
Khamis Mushayt Station | Paradox MG-5050 IDS system with TM 50 interactive panel is in place: | -Reporting access required over the IDS including training
| 12 sensors wireless covering Shutters, entry/exit doors, server room. | -Re configuration/ testing of IDS to debug network/connection failures (
-Glass sensors for windowsx2
| ZKTeco [SC503 - Access Control By Card & Serial Number | -Periodic preventive maintenance (for IDS and access system)
| access control device] - Magnetic - Lock - AL280 for wood/or/metal door | 3 visits /year
| BIO-EX801B Exit Button | -Panic alarm tests | 30
(access on Biotime 8.5)
5 devices covering security room, entry/exit doors and office to warehouse entry doors
Sulay Logistics | Paradox MG-5050 IDS system is in place: | Will be confirmed after visit. | Will be confirmed after visit.
24 wired sensors covering entry and emergency exits
Paradox MG-625 panic alarm system in place 1 push sensor
ZKTeco [SC503 - Access Control By Card & Serial Number
access control device] - 1 access device on Logistics solutions room.
Hail Station | Nil | Requires completely new setup of IDS, access and CCTV – Will be confirmed after visit.

## Sheet2
Access & IDS Security Systems List
Site | HCR- RUH | MED STN | KMT STN | DMM GW-KFIA | Hail | Sulay
Alarm System | DSC Door Alarm System | Paradox MG-5050 with TM 50 interactive panel with GSM for SMS and integrated push panic button | Paradox MG-5050 with TM 50 interactive panel with GSM for SMSand integrated push panic button | Paradox MG-5050 with TM 50 interactive panel with GSM for SMS and integrated push panic button | AJAX Security HUB 2 Plus 200 Zone : 2xSIM 2G/3G & 4G Ethernet | Paradox MG-5050 2016 IDS system Paradox MG-625 panic alarm system with 1 push sensor
Sensors Qty | 78 | 12 | 12 | 20 | 16 | 18
Sensor Type | Wired | Wireless | Wireless | Wireless | Wireless | Wired
Sensor Location | Warehouse No.-1 to Warehouse No.-17 (Emergency Doors -72), shutter Doors -6. | 2 main shutters , one main entrance, 2 secondary shutters , 4 emergency exit doors, 2 on main glass door, 1 server room | 4 shutters, 1-server room , 4 emergency exits and 3 PIR sensor on main entrance glass door and security room glass door. | 13 shutters, 1-server room,1- main entrance, 3 emergency exits , 1 security room and 1 PIR sensor on glass window. In addition 1-wired panic key connected to the main panel in security room | 4 shutters, 1-server room , 4 emergency exits, 3 PIR sensor on main entrance glass door, one security room glass door, one finance room, one roof entrance and one server room | 14 emergency exits and 2 main entrance
System Status | Active | Active | Active | Active | Active | Inactive
Maintainance Vendor | Falcon Security System | Qasr Amjad Security Service | Qasr Amjad Security Service | Qasr Amjad Security Service | Qasr Amjad Security Service | NA
Reports Access | Yes/ By app | Yes/By app | Yes/By App | Yes/By App | Yes/By App | No Reporting Functionality
Reporting software | DLS 5 | Babyware 2.0 | Babyware 2.0 | Babyware 2.0 | Ajax hub | No Reporting Functionality
Software Access | Standalone | Standalone | Standalone | Standalone | Standalone | No Reporting Functionality
Spare parts & Vendor Support | Possible/ Contract in place | Possible/ Contract in place | Possible/ Contract in place | Possible/ Contract in place | Possible/ Contract in place | Not Possible/ Outdated System
Access Control System | NITGEN Access System door access with metal magnetic lock for steel door. | ZKTeco [SC503 - Access Control By Card & Serial Number access control device] with Magnetic Lock AL280 for wood/or/metal door including BIO-EX801B Exit Buttons | ZKTeco [SC503 - Access Control By Card & Serial Number access control device] with Magnetic Lock AL280 for wood/or/metal door including BIO-EX801B Exit Buttons | ZKTeco [SC503 - Access Control By Card & Serial Number access control device] with Magnetic Lock AL280 for wood/or/metal door including BIO-EX801B Exit Buttons | ZKTeco [SC503 - Access Control By Card & Serial Number access control device] with Magnetic Lock AL280 for wood/or/metal door including BIO-EX801B Exit Buttons | NITGEN Access System. 1 door access with metal magnetic lock for steel door.
Access Panels Qty | 8 | 5 | 5 | 4 | 4 | 5
Access Panel Location | 3 at Main Entry 1 for Warehouse Entry 1 for Cold Room Entry 1 for Drug Room Entery 2 for MOI Office Entry | 5 devices covering security room, entry/exit doors and office to warehouse entry doors | 5 devices covering security room, entry/exit doors and office to warehouse entry doors | 4 devices covering security room, entry/exit doors and office to warehouse entry doors | 4 devices covering security room, entry/exit doors and office to warehouse entry doors | 1 access device on Logistics solutions room. Rest 4 Offline
Access System Status | Active | Active | Active | Active | Partial Active | Inactive
Maintainance Vendor | NIL | Qasr Amjad Security Service | Qasr Amjad Security Service | Qasr Amjad Security Service | Qasr Amjad Security Service | NA
Reports Access | Yes/ By app | Yes/By app | Yes/By App | Yes/By App | Yes/By App | No Reporting Functionality
Reporting software | FALCON | Biotime 5.0 | Biotime 5.0 | Biotime 5.0 | Biotime 5.0 | No Reporting Functionality
Software Access | Standalone | Centralized | Centralized | Centralized | Centralized | No Reporting Functionality
Spare parts & Vendor Support | Possible/ Contract in place | Possible/ Contract in place | Possible/ Contract in place | Possible/ Contract in place | Possible/ Contract in place | Not Possible/ Outdated System