## EHS Weekly Checklist
[7 empty] | EHS Weekly Checklist Owner/ Department: QRM |  |  | Administration | Single Level | N / A
[10 empty] | Customer Service | Multiple Level | No Risk
EHS Representative |  | Ahmed Baramy | Date |  |  |  | Day |  |  | FedEx Trade Network |  | Low Risk
[10 empty] | Finance |  | Medium Risk
Premises/Facility |  | KFIA- DMM | Department | Clearance |  |  | Floor Levels/Storey | Multiple Level | Multiple Level | Human Resources |  | High Risk
Special Delivery Channel
SR # | General Requirements |  |  | Yes | No | If No, incident reported? | Remarks
1 | Are all members of staff aware of the EHS procedures? |  |  | Yes
2 | Is access controlled to authorized staff? Are staff working in authorized areas? |  |  | Yes
3 | Is Visitors Log being used? |  |  | Yes
4 | Are premises keys controlled & Key Register in use? |  |  | Yes
5 | Is there a First Aid Kit? Is it available and properly stocked? |  |  | Yes
Restrooms
6 | Are Water Conservation signages available? |  |  |  | No |  | Waiting for signages from Marketing dept
7 | Is water-flow in toilets controlled? Any faucet fitting require change? |  |  |  | No
8 | Does the rest rooms emit bad smell? |  |  |  | No
9 | Is the ventilation fan working? |  |  | Yes
10 | Are Hand Dryers working and tissue available ? |  |  | Yes
11 | Are Wet Floor/ Slippery when Wet/ Yellow warning sign in use by the cleaners? |  |  | Yes
12 | Are the cleaning materials stacked properly in one area, soap available? |  |  | Yes
13 | Are all emergency exits next to Restrooms kept clear including emergency stairs?
14 | Fire Action Signage available at the emergency exits? |  |  |  | No
15 | Cleaners wearing EHS equipment (gloves,shoes,uniforms) ? |  |  | Yes
16 | Are No smoking signages available on Fire Exits? |  |  |  | No
Kitchen/ Canteen
17 | Is the Kitchen and kitchen floor, sink and counters clean? |  |  | Yes
18 | Are cleaning materials separate from food items? |  |  | Yes
19 | Are the kitchen tools used clean and properly placed? |  |  | Yes
20 | Are the electrical appliances used in the kitchen properly working? |  |  | Yes
21 | kitchen staff had health check,kitchen staff in uniforms? |  |  |  | No
22 | Are the electrical connections for appliances used in the kitchen safe? |  |  | Yes
Work stations, Stairs and Lift
23 | Are stairs safe and undamaged? |  |  | Yes
24 | Is First Aiders' list available in each Staff Notice Board at each floor, notice board up to date information ? |  |  |  | No
25 | Visitors controlled? |  |  | Yes
26 | Are electrical wires organized under the work stations and well tidied? |  |  |  | No
27 | Are electrical sockets checked to ensure no overload?
28 | Are photocopiers, computers, scanner etc…clean and no signs of dust? |  |  | Yes
Corridors/Passages
30 | Are Emergency Lights working and tested on a regular bases? | [5 empty] | 08 Emerency lights on request with PUR Dept
31 | Are all Fire extinguishers mounted on the wall? |  |  | Yes
32 | Are Employees smoking in to designated smoking area ?
33 | All Fire extinguishers up to date? |  |  | Yes |  |  | Valid till 9th May 2021
34 | Is there a First Aid Kit? Is it available and properly stocked? |  |  | Yes
35 | Is the sprinkler system tested and clear of obstruction? Pressure gauge checked? |  |  |  | No |  | Currently under maintenance
36 | Were the Smoke Detectors tested? Are we going to have a test? |  |  |  | No
37 | Is Waste Segregation bins available with signage? |  |  |  | No
38 | Is the inside lightning working and in order?
39 | Are clear bags used for rubbish? |  |  | Yes
40 | Are emergency number available i.e. QRM, Fire, Police
41 | Are the windows, doors and building secure?
42 | Are Alarms maintained and used?
43 | Are Carpets, wood, tiles, etc. in Offices safe? |  |  | Yes
44 | Is the yellow tape available on door steps in each floor entrance? |  |  | Yes
45 | Is signage available on the floor showing (Assembly Area) in case of fire?
46 | Are Fire extinguishers in the right locations? |  |  | Yes
47 | Is the Fire extinguishers inspection up to date? |  |  | Yes |  |  | Valid till 9 May 2021
48 | Is the Emergency lightning in use and on-charge? |  |  |  | No |  | Rqst pending with PUR dept ERP - 10030616
49 | Has the lighting levels been measured "LUX"? |  |  |  | No
50 | Are there any materials blocking smoke detectors or exit points? |  |  |  | No
Environmental Conditions
51 | Is there Electricity/ Power Conservation signage? | [5 empty] | In request with MRKT Dept ERP 10029285
52 | Is the “Keep doors close” signage to conserve electricity on air-conditioners available and practiced. Are there any holes/cracks in the walls/ceiling/roof? |  |  | Yes
53 | Is Waste Segregation bins available with signage? Recycling signage in each floor? (General waste/paper recycling/plastic recycling and cardboard recycling)
54 | Is the waste management and pollution control procedure followed/practiced?
55 | Are spill kits placed beside the generator area/loading off loading area
56 | Is the Air Conditioning/General working Environment in order, AC ducts cleaned?
Forklift
57 | Are pre-checks carried out before the shift on forklift?
58 | Check if checklist is signed on daily basis.
59 | Do all forklift have mirrors?
60 | Are all forklift operator trained and have Driving license?
61 | Is the forklift safety box available and safe for use ?
Generator/ X-ray Area
62 | Any Fuel leakage near the generator area
63 | Is the generator storage area cleaned and maintained regularly
64 | Is there routine maintainance done for the generators
65 | Is the X-ray machine cleaned and maintained regularly
66 | Is there routine maintainance done for the X-ray machines
Front and back elevation and Assembly Area
67 | Is the outside area/ Front Parking /docking areas clean and tidy? |  |  | Yes
68 | Is the outside area/ Assembly area clean and tidy? |  |  | Yes
69 | Is the disabled ramp available, visible, clean and unblocked?
70 | Cartridge disposal policy followed in all Dept? |  |  | Yes
71 | Is there any maintenance while being carried out in the building and the EHS policy followed?
I
Is the outside area/ Assembly area clean and tidy?
Is the disabled ramp visible, clean and unblocked?