## KFIA PM
Security Systems - Preventative Maintainance Checklist Owner/Department: QRM
S.No | Main Control Panel (Inside Security Room) | Tested & In Working Condition |  | REMARKS
|  | Yes | No
1 | PARADOX MG5050 main control interface
2 | MG5050 battery
3 | TM50 touchpad
4 | Siren security room
5 | IP150 Network Module
6 | GSM Module
No. | Reporting Software (Inside facility) | Tested & In Working Condition
|  | Yes | No
7 | Babyware software installed, accesible and login enabled
8 | Able to retrieve reports
9 | Reports retrieved and saved on daily basis
No. | Alarm Door Contacts, Sensor & Repeater (Check sensor condition & batteries) | Tested & In Working Condition
|  | Yes | No
10 | Emergency exit door 1- Ground Floor
11 | Emergency exit door 2- Ground Floor
12 | Emergency exit door 3- First Floor
13 | Wireless repeater panel
14 | Wireless repeater battery
15 | Door Contacts (Security Room, Shutter 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15)
16 | Sensors (Security Room, Shutter 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15)
17 | Any shutter /emergency door added/ requires alarm sensors?
No. | Access Control System | Tested & In Working Condition
|  | Yes | No
18 | Security Room - Magnetic door contacts
19 | Security Room - SC03 access panel
20 | Security Room - Push button
21 | Main Entrance - Magnetic door contacts
22 | Main Entrance - SC03 access panel
23 | Main Entrance - Push button
24 | Any other security systems at risk identified (open wiring/connections/cabling in the pathway,evident tampering etc)
No. | UPS | Tested & In Working Condition
|  | Yes | No
25 | UPS Main panel and connectors
26 | Battery condition
27 | Check auxillary power supply (UPS) connection to CCTV, alarm system and access control
Technician:__________________________________________________ |  |  |  | Security Manager:________________________________
KFIA

## KMT PM
Security Systems - Preventative Maintainance Checklist Owner/Department: QRM
S.No | Main Control Panel (Inside Security Room) | Tested & In Working Condition |  | REMARKS
|  | Yes | No
1 | PARADOX MG5050 main control interface
2 | MG5050 battery
3 | TM50 touchpad
4 | Siren security room
5 | IP150 Network Module
6 | GSM Module
No. | Reporting Software (Inside facility) | Tested & In Working Condition
|  | Yes | No
7 | Babyware software installed, accesible and login enabled
8 | Able to retrieve reports
9 | Reports retrieved and saved on daily basis
No. | Alarm Door Contacts, Sensor & Repeater (Check sensor condition & batteries) | Tested & In Working Condition
|  | Yes | No
10 | Door Contacts (Emergency Exits 2,3,4,5,6,7)
11 | Sensors (Emergency Exits 2,3,4,5,6,7)
12 | Door Contacts (Security Room, Shutter 1,2,3,4) & Server Room
13 | Sensors (Security Room, Shutter 1,2,3,4) & Server Room
14 | Glass PIR Sensors - Main Glass Door Entrance & Security Room
15 | Wireless repeater panel
16 | Wireless repeater battery
17 | Any shutter /emergency door added/ requires alarm sensors?
No. | Access Control System | Tested & In Working Condition
|  | Yes | No
18 | Security Room - Magnetic door contacts
19 | Security Room - SC03 access panel
20 | Security Room - Push button
21 | Main Entrance - Magnetic door contacts
22 | Main Entrance - SC03 access panel
23 | Main Entrance - Push button
24 | Office to Warehouse Entrance- Magnetic door contacts
25 | Office to Warehouse Entrance - SC03 access panel
26 | Office to Warehouse Entrance - Push button
27 | Finance Office - Magnetic door contacts
28 | Finance Office - SC03 access panel
29 | Finance Office - Push button
30 | Server Room - Magnetic door contacts
31 | Server Room - SC03 access panel
32 | Server Room - Push button
33 | SDC Office - Magnetic door contacts
34 | SDC Office - SC03 access panel
35 | SDC Office - Push button
36 | Any other security systems at risk identified (open wiring/connections/cabling in the pathway,evident tampering etc)
No. | UPS | Tested & In Working Condition
|  | Yes | No
37 | UPS Main panel and connectors
38 | Battery condition
39 | Check auxillary power supply (UPS) connection to CCTV, alarm system and access control
Technician:__________________________________________________ |  |  |  | Security Manager:________________________________
KMT

## MED PM
Security Systems - Preventative Maintainance Checklist Owner/Department: QRM
S.No | Main Control Panel (Inside Security Room) | Tested & In Working Condition |  | REMARKS
|  | Yes | No
1 | PARADOX MG5050 main control interface
2 | MG5050 battery
3 | TM50 touchpad
4 | Siren security room
5 | IP150 Network Module
6 | GSM Module
No. | Reporting Software (Inside facility) | Tested & In Working Condition
|  | Yes | No
7 | Babyware software installed, accesible and login enabled
8 | Able to retrieve reports
9 | Reports retrieved and saved on daily basis
No. | Alarm Door Contacts, Sensor & Repeater (Check sensor condition & batteries) | Tested & In Working Condition
|  | Yes | No
10 | Wired Panic Button (Security Room)
11 | Door Contacts (Main Entrance 1 & 2)
12 | Sensors (Main Entrance 1 & 2)
13 | Door Contacts (Emergency Exits 6,8,10,11)
14 | Sensors (Emergency Exits 6,8,10,11)
15 | Door Contacts (Shutter 2,3,4,5)
16 | Sensors (Shutter 2,3,4,5)
17 | Door Contacts (Server Room & Roof Access Room)
18 | Sensors (Server Room & Roof Access Room)
19 | Glass PIR Sensors - Main Glass Door Entrance
20 | Wireless repeater panel
21 | Wireless repeater battery
22 | Any shutter /emergency door added/ requires alarm sensors?
No. | Access Control System | Tested & In Working Condition
|  | Yes | No
23 | Security Room - Magnetic door contacts
24 | Security Room - SC03 access panel
25 | Security Room - Push button
26 | Main Entrance - Magnetic door contacts
27 | Main Entrance - SC03 access panel
28 | Main Entrance - Push button
29 | Office to Warehouse Entrance- Magnetic door contacts
30 | Office to Warehouse Entrance - SC03 access panel
31 | Office to Warehouse Entrance - Push button
32 | ATM Office - Magnetic door contacts
33 | ATM Office - SC03 access panel
34 | ATM Office - Push button
35 | Server Room - Magnetic door contacts
36 | Server Room - SC03 access panel
37 | Server Room - Push button
38 | Finance Office - Magnetic door contacts
39 | Finance Office - SC03 access panel
40 | Finance Office - Push button
41 | Any other security systems at risk identified (open wiring/connections/cabling in the pathway,evident tampering etc)
No. | UPS | Tested & In Working Condition
|  | Yes | No
42 | UPS Main panel and connectors
43 | Battery condition
44 | Check auxillary power supply (UPS) connection to CCTV, alarm system and access control
Technician:__________________________________________________ |  |  |  | Security Manager:________________________________
MED

## Hail PM
Security Systems - Preventative Maintainance Checklist Owner/Department: QRM
S.No | Main Control Panel (Inside Security Room) | Tested & In Working Condition |  | REMARKS
|  | Yes | No
1 | AJAX HUB main control interface
2 | AJAZ Console Inbuilt battery
3 | AJAX touch keypad
4 | Siren - security room, external warehouse, inside warehouse
5 | GSM Module
No. | Reporting Software (Security Room) | Tested & In Working Condition
|  | Yes | No
6 | Software installed, accesible and login enabled
7 | Able to retrieve reports
8 | Reports retrieved and saved on daily basis
No. | Alarm Door Contacts, Sensor & Repeater (Check sensor condition & batteries) | Tested & In Working Condition
|  | Yes | No
9 | Wired Door Contact Sensor (Emergency Exit 1,2,3,4)
10 | Wired Door Contact Sensor (Shutter 1,2,3,4)
11 | Wired Door Contact Sensor (Office to warehouse entrance, Server room)
12 | Glass PIR Sensors - Main Glass Door Entrance & Security Room
13 | Wireless Extender - (Security Room & Inside Warehouse)
14 | Any shutter /emergency door added/ requires alarm sensors?
No. | Access Control System | Tested & In Working Condition
|  | Yes | No
15 | Security Room - Magnetic door contacts
16 | Security Room - SC03 access panel
17 | Security Room - Push button
18 | Main Entrance - Magnetic door contacts
19 | Main Entrance - SC03 access panel
20 | Main Entrance - Push button
21 | Server Room - Magnetic door contacts
22 | Server Room - SC03 access panel
23 | Server Room - Push button
24 | Finance Office - Magnetic door contacts
25 | Finance Office - SC03 access panel
26 | Finance Office - Push button
27 | Any other security systems at risk identified (open wiring/connections/cabling in the pathway,evident tampering etc)
No. | UPS | Tested & In Working Condition
|  | Yes | No
28 | UPS Main panel and connectors
29 | Battery condition
30 | Check auxillary power supply (UPS) connection to CCTV, alarm system and access control
Technician:__________________________________________________ |  |  |  | Security Manager:________________________________
Hail

## ZKT Eco
Security Systems - Preventative Maintainance Checklist Owner/Department: QRM
S.No | Server Room -HQ | Tested & In Working Condition |  | REMARKS
|  | Yes | No
1 | Server link established over server to access ZKT-Eco access control
2 | 4 facilities access control devices (visible and accessible over the module)
3 | All connections shown active
4 | Able to retrieve access log reports
5 | System stores 90 days records
Technician:__________________________________________________ |  |  |  | Security Manager:________________________________
ZKT -Eco
HQ