	[image: image1.png]Express




	X-Ray Machine Quarterly Preventive Maintainance Checklist

Owner/ Department:QRM



Machine Location:_______________

Machine Model__________________                           Date________________

Machine S/N:____________________

Four routine visits per year for general check up, physical inspection, test all the image enhancement icons & performing verification tests. Each Preventive Maintenance includes the below:
	No.
	Item Description
	Results

	
	
	OK
	NOK

	1
	The system initializing correctly
	
	

	2
	Kv & MA of the X-ray controller 
	
	

	3
	The X-ray aligning & the settings to keep X-ray beam at recommended value
	
	

	4
	Fix all loose connection
	
	

	5
	X-ray Generator for oil leakage 
	
	

	6
	Power distribution system LEDs
	
	

	7
	 Application & operation Systems software normal function
	
	

	8
	Removal of the diode array box covers operate a safety interlock that prevents the generation of X-rays
	
	

	9
	When the E-stop is pressed, the following message will appear on screen:

E-stop has been activated. Please release the E-Stop button and then press the Stop button to continue.
	
	

	10
	If the STOP button on the Operator Control Panel is pressed before the E-Stop is released, the following message will appear on screen:

Please release the E-Stop button and then press the Stop button to continue.
	
	

	11
	The operator must release the E-Stop and then press the Stop button again.  At this point the following message will appear on screen:

Please wait for system to resume normal operation.
	
	

	12
	All Power and X-ray Lamps indicators 
	
	

	13
	Clean the computer and LVPS
	
	

	14
	Clean the Interior and Exterior surfaces
	
	

	15
	Run Mainframe Diagnostics every three months
	
	

	16
	Perform system commissioning at the end of the year
	
	

	17
	Check the internal UPS Batteries
	
	

	18
	Check the External UPS Batteries 
	
	


Name of Engineer:_____________ signature _________________ date:_______________
Facility/ Security Manager:_________ signature ______________ date:_______________

[image: image1.png]