SSC (SMSA Service Center)

Confidential

## SSC PLAN TYPE (A)

Between 15-19 m

Between 9-12 m

|  | INTERIOR PERSPECTIVE TYPE (A) |  |  |  |
| --- | --- | --- | --- | --- |
|  | ,----...., | ' | f,..- |  |

### Outdoor Perspective TYPE (A)

#### Interior Design offices (SSCs)

Perspective TYPE (A)

Interior Design offices (SSCs)

Perspective TYPE (A)

Interior Design offices (SSCs)

STORE VIEW TYPE (A)

>

#	-

,	7	----------

----

#### Interior Design offices (SSCs)

STORE VIEW TYPE (A)

r

r	7	, .,r---

---

-	----	-

....;;c_	-	-

#### Interior Design offices (SSCs)

SSC PLAN TYPE (B)

Between 12-15 m

Between 7-10 m

SSC	Store

INTERIOR PERSPECTIVE TYPE (B)

\	I

'	I

Interior Design offices (SSCs)

### Outdoor Perspective TYPE (B)

#### Interior Design offices (SSCs)

SSC PLAN TYPE (C)

Between 8-10 m

Between 3-5 m

INTERIOR PERSPECTIVE TYPE (C)

'	\	I	/

#### Interior Design offices (SSCs)

Outdoor Perspective TYPE (C)

Interior Design offices (SSCs)

Perspective TYPE (C)

Interior Design offices (SSCs)

Perspective TYPE (C)

\

\

#### Interior Design offices (SSCs)

STORE VIEW TYPE (C)

#### Interior Design offices (SSCs)

Specifications of SSC

## 1	Air conidian

LG Spilt unit 24,000 BTU Class	1

Multi-System Ductless Split Outdoor Unit

Interior Design offices (SSCs)

Specifications of SSC

0.69m

1.02m

# 2

2	Wall graphics

* In Type C one set (5 pieces)

0

Dimensions of

Vertical Pictures is 1.02*0.69m

0.51m

Dimensions of

Horizontal Pictures is 0.51 *0.77m with aluminum frames .

0.77m

Interior Design offices (SSCs)

3	Store door

Leaf Wooden door with frames.

* Dimensions 2.10*1.00

2.10m	5

Specifications of SSC

# 3

5

Emergency light

1.00m

# 4

0.40m

0.40m

4	Floor tiles

ALKHAZAF ALSAUDI Ceramic (color : Gray)

* Dimensions 0.40*0.40

Interior Design offices (SSCs)

Specifications of SSC

0.60m

# 6

0.60m

6	Roof ceiling

ARMSTRONG MINATONE CORTEGA)	7

ACOUSTIC CELLING TILES

* Dimensions 0.60*0.60

7	WALL PAINTING

3 COATS OF SIGMA PAINTS 3220

Interior Design offices (SSCs)

Specifications of SSC

LEAF WOODEN DOOR OF COUNTERS

8

* Dimensions 1.00*1.00

# 10	11

8

9	WIGHT SCALE	9

- LCD screen with CCTV

- Licenses boards 9 pieces

03 cm between each frame

Interior Design offices (SSCs)

Specifications of SSC

3D SMSA Signage size in type (C)

1.40 m

0.08 m

0.37m

ELEVATION

Acrylic white plastic with sticker LED Illuminated at the back

1.40 x 0.37 m

The distance from the wall 0.08 m

FLOOR PLAN

Interior Design offices (SSCs)

Specifications of SSC

3D SMSA Signage size in type (B)

2.00 m

0.08 m

0.53m

Acrylic white plastic with sticker LED Illuminated at the back

2.00 x 0.53 m

The distance from the wall 0.08 m

ELEVATION

Interior Design offices (SSCs)

FLOOR PLAN

Specifications of SSC

3D SMSA Signage size in type (A)

2.50 m

0.08 m

0.67m

ELEVATION

Acrylic white plastic with sticker LED Illuminated at the back

2.50 x 0.67 m

The distance from the wall 0.08 m

Interior Design offices (SSCs)

Elevations

Left side elevation

Right side elevation

Interior Design offices (SSCs)

Front side elevation

store side elevation

## Specifications of SSC

1	SMSA Outdoor Signboard.

5	SMSA Outdoor flag sign.

1

3	Parking sign.

2	5

2	SMSA curtain .	3	6

4	Ramp.

## 6	Working hours sign.

4

Interior Design offices (SSCs)

Presented by: Eng.Motaz Yahia Idris

Regional Supervisor- Facilities