The premise is equipped with smoke and heat detectors, fire hoses, and fire extinguishers.

Upon hearing the continuous sound of the alarm, all SMSA staff must cooperate with the appointed Fire Marshalls and exit the premises in an orderly manner using the nearest fire exit points without delay – regardless of their position within the organization.

CHIEF FIRE WARDEN RESPONSIBILITIES

It is the responsibility of the Chief Fire Warden to inform the local Civil Defense Fire & Rescue Brigade to liaise and coordinate with the designated Fire Marshalls at the designated Assembly Point, to ensure the building has been completely evacuated. It must be noted that only the Chief Fire Warden and/or the local Civil Defense Fire & Rescue Brigade can give permission to staff to reenter the premises. The Chief Fire Warden is also responsible for giving the local Civil Defense Fire & Rescue Brigade the company or building information pack which has the following contents: (1) Plan of the building detailing electrical cut off points (2) Location of all firefighting equipment.

| CHIEF FIRE WARDEN & fire Marshal | SECTION | Location | DUTIES & RESPONSIBILITIES |
| --- | --- | --- | --- |
| Retails Executive In charge | IBU - CS | Tubli | - Must have a structure or framework to follow within the organization to allow their role to work in preventing fire. - Responsible to assist in the safe evacuation of staff and visitors from the work place. - To ensure back office, toilet, and retail are Clear. |

FIRE MARSHALL RESPONSIBILITIES

Fire Marshalls straddle the line between firefighting and police work, working primarily with the Fire & Rescue Services, investigating the causes of fire and enforcing fire prevention and fire evacuation procedures. Fire Marshalls are to check their designated area(s) and ensure that staff has evacuated the premises. Once checks have been made, they must immediately proceed to the Chief Fire Warden to report and confirm that their area(s) is/are cleared and then proceed to the designated Assembly Point.

Main responsibilities are:

- Ensure that all employees under his control, have exited the building

- Ensure that employees do not stop to collect their personal belongings or delay their exit for any other reason

- Ensure if it does not risk one’s safety, to close all doors and windows to limit the spread of fire

- Ensure if it does not risk one’s safety, to switch off and isolate all equipment, appliances, and machinery

- Check rest rooms, offices, and store rooms, etc. in his scope of area

- Report to the Chief Fire Warden once his scope of area is clear

- Ensure that no person reenters the building until authorized by the Chief Fire Warden or Civil Defense Fire & Rescue Brigade

- To divert incoming traffic and ensure roads are unblocked and free of pedestrians for the arrival of the Fire & Rescue Brigade

- Report subsequently on the usage of extinguishers to the Chief Fire Warden

- Ensure that fire extinguishers are refilled or replaced after use

GUIDELINES FOR FIRE PREVENTION AND ELIMINATION

ON DISCOVERING THE FIRE

Break the glass of the alarm boxes to sound the fire alarm. These are marked red boxes with notices explaining actions to be taken in case of fire and situated near all exits and/or emergency exits.

The building and the premise have ceiling-mounted smoke and fire detectors installed that can automatically detect heat and smoke.

Only intercept or block small fires with firefighting equipment (extinguishers/fire blankets) if you have received the necessary training and you feel confident that you will not be putting your own safety at risk or in danger. You must ensure that if you use a fire extinguisher, it is suitable for the type of fire encountered as there are different types of fire extinguishers that can fully extinguish and prevent the spread of fire upon knowing what had caused the fire itself. This information is usually marked on the fire extinguisher canisters.

ON HEARING THE ALARM

The Chief Fire Warden will take full charge of the evacuation and ensure that adequate emergency assistance has been sought.

All staff and guests in the building must leave the premises by the nearest available fire exit and proceed in an orderly manner to the designated Assembly Point.

Staff/Guests MUST NOT:

- Collect personal belongings

- Reenter the building without permission from the Chief Fire Warden/Civil Defense Fire & Rescue Brigade

Fire Marshalls will ensure that area(s) within their coverage has/have been fully evacuated and that all doors and windows are closed.

If there is no risk to one’s personal safety, staff should switch off all equipment’s, appliances, and machinery.

CLOTHING CAUGHT FIRE

If clothing catches fire, the following procedures must be followed:

- Ensure that the casualty is lying on the ground

- Wrap the casualty tightly in a coat, heavy fabric, or if fire blanket is available

- Roll the casualty on the ground until flames are smothered

TESTING

Fire Alarms and Fire Fighting Equipments:

The fire alarm and equipment are being checked, tested, and serviced quarterly, according to contractor and company’s agreement. During these times, staff will hear the continuous sound of the alarm for not more than 20 seconds – if the sound of the alarm continues after this period of time, staff MUST treat this as an emergency and proceed to the designated Assembly Point in front of the Retail.

Evacuation Tests:

Evacuation drills are carried out and conducted on yearly intervals by the contractor. The results are recorded and duly kept by admin department.

Extinguishers:

All extinguishers are checked, tested, and serviced by an external company on a semi-annually basis by an external company.

Results of these checks and servicing are recorded with the HR & Admin Manager and reported to QRM.