## Arab Emergency Company
Third Party Annual Review Owner: Director, QRM
Company | Arab Emergency Company | Is Supplier in compliance with the standards?
Date of Review | 2021-06-15
Person Reviewing | Mohammed Jareed
Co. Rep. present during review process | NA
Third Party Annual Review
Processes Followed | Compliance Y/N | Remarks | CAPA if applicable
Inspection of all Fire Extinguishing System at Facility | Y | Meeting requirments | N
Covering Emergency call for Service and maintenance for all Fire Equipments | Y | Meeting requirments | N
Reparing and fixing of spare part for Fire equioments timely if any | Y | Meeting requirments | N
Inspection of all Fire Diesel Pupm System at Facility | Y | Meeting requirments | N
Any identifiable risk found | NA | NA | NA
Y

## HC-Obal Est
Third Party Annual Review Owner: Director, QRM
Company | Obal Est.(Pest Control) | Is Supplier in compliance with the standards?
Date of Review | 2021-06-15
Person Reviewing | Mohammed Jareed
Co. Rep. present during review process | NA
Third Party Annual Review
Processes Followed | Compliance Y/N | Remarks | CAPA if applicable
Monthly Inspection of Facility | Y | Meeting requirments | N
Checking for Rat Traps during Inspection | Y | Meeting requirments | N
Reports of inspection | Y | Meeting requirments | N
Changing and replacement of materials if required | Y | Meeting requirments | N
Labeling & Documentation | Y | Meeting requirments | N
Any identifiable risk found | NA | NA | NA
Y

## Riyadh Summits
Third Party Annual Review Owner: Director, QRM
Company | Riyadh Summits | Is Supplier in compliance with the standards?
Date of Review | 2021-06-15
Person Reviewing | Mohammed Jareed
Co. Rep. present during review process | NA
Third Party Annual Review
Processes Followed | Compliance Y/N | Remarks | CAPA if applicable
Monthly Maintenance of Generators i.e As per Running Hours of Engine. | Y | Meeting requirments | N
Changing of Oil and Filters for Each Generator after every 350 Hrs | Y | Meeting requirments | N
Change the air filter every 2500 hours | Y | Meeting requirments | N
Covering Emergency call for Service and maintenance | Y | Meeting requirments | N
Reparing and fixing of spare part timely if any | Y | Meeting requirments | N
Any identifiable risk found | NA | NA | NA
Y

## TRANE For Chiller
Third Party Annual Review Owner: Director, QRM
Company | TRANE | Is Supplier in compliance with the standards?
Date of Review | 2021-06-16
Person Reviewing | Mohammed Jareed
Co. Rep. present during review process | NA
Third Party Annual Review
Processes Followed | Compliance Y/N | Remarks | CAPA if applicable
Monthly Maintenance of Chiller | Y | Meeting requirments | N
Reports after every inspection | Y | Meeting requirments | N
Covering Emergency call for Service and maintenance | Y | Meeting requirments | N
Reparing and fixing of spare part timely if any | Y | Meeting requirments | N
Any identifiable risk found | NA | NA | NA
Y

## CGS
Third Party Annual Review Owner: Director, QRM
Company | CGS Automation & Refregeration | Is Supplier in compliance with the standards?
Date of Review | 2021-06-16
Person Reviewing | Mohammed Jareed
Co. Rep. present during review process | NA
Third Party Annual Review
Processes Followed | Compliance Y/N | Remarks | CAPA if applicable
Maintenance of Cold and Freezer room as per schedule | Y | Meeting requirments | N
Reports after every inspection | Y | Meeting requirments | N
Covering Emergency call for Service and maintenance | Y | Meeting requirments | N
Reparing and fixing of spare part timely if any | Y | Meeting requirments | N
Any identifiable risk found | NA | NA | NA
Y

## Shoa
Third Party Annual Review Owner: Director, QRM
Company | Shoa AL-Yarmouk Est. | Is Supplier in compliance with the standards?
Date of Review | 2021-06-16
Person Reviewing | Mohammed Jareed
Co. Rep. present during review process | NA
Third Party Annual Review
Processes Followed | Compliance Y/N | Remarks | CAPA if applicable
Inspection of all Fire Extinguishers at Facility | Y | Meeting requirments | N
Covering Emergency call for Service and maintenance | Y | Meeting requirments | N
Reparing and fixing of spare part for Fire equipments timely if any | Y | Meeting requirments | N
Refilling of Fire extinguisher as per schedule before expiry | Y | Meeting requirments | N
Any identifiable risk found | NA | NA | NA
Y

## epeco Environment
Third Party Annual Review Owner: Director, QRM
Company | epco Environment | Is Supplier in compliance with the standards?
Date of Review | 2021-06-16
Person Reviewing | Mohammed Jareed
Co. Rep. present during review process | NA
Third Party Annual Review
Processes Followed | Compliance Y/N | Remarks | CAPA if applicable
Disposal of items as per Schedule | Y | Meeting requirments | N
Disposal Reports | Y | Meeting requirments | N
Disposal reports comliance as per local authoroties | Y | Meeting requirments | N
On call assist | Y | Meeting requirments | N
Any identifiable risk found | NA | NA | NA
Y

## Falcom Security System
Third Party Annual Review Owner: Director, QRM
Company | Falcon Security System | Is Supplier in compliance with the standards?
Date of Review | 2021-06-16
Person Reviewing | Mohammed Jareed
Co. Rep. present during review process | NA
Third Party Annual Review
Processes Followed | Compliance Y/N | Remarks | CAPA if applicable
Periodic Maintenance of Door Alarm System | Y | Meeting requirments | N
Reports after every inspection | Y | Meeting requirments | N
Covering Emergency call for Service and maintenance | Y | Meeting requirments | N
Reparing and fixing of spare part timely if any | Y | Meeting requirments | N
Any identifiable risk found | NA | NA | NA
Y