	[image: image1.png]SIS L





	Electricity/ Power Failure
Work Instruction
                                       Owner: Director, Logistics



	Scope
	This Work Instruction covers electricity/ power failure in SMSA Healthcare Warehouse in Sulay.

	Responsibility
	Utility Executive, Project Assistant Manager, Project Manager. 

	Instruction
	· All Warehouse equipments are running on SCECO (Saudi Consolidated Electric Company) power.
· Only Chillers and Water pumps are working on generators.

· If in case there is electricity failure (SCECO power), ATS panels in place will take automatic load from generators and feed all panels inside warehouse.
· Three (3) generators with capacity of 500 kW each are synchronized as well.

· Generators are working in AUTO Mode.

· In case any of the generators fails, other will start automatically.

· During working hours, Utility Executive will take responsibility for generators.

· In case of breakdown of generator, maintenance contract is in place with vendor.
· Utility Executive will call Maintenance Company to address the issue.

· After receiving call, Maintenance Company has to attend the site within 1 hour to attend generator breakdown.

· If generators fail Utility Executive or Designee, will attend the issue during Working Hours.

·  If generators fail, during Non-Working Hours Security team will inform below mentioned persons:
             1. Utility Executive
             2. Project Assistant Manager
             3. Project Manager
             4. Security Supervisor
· Utility Executive or Designee will follow above mentioned procedure.




Page 1 of 1
Uncontrolled copy if printed



[image: image1.png]