## Night Watchman Checklist
Night Watchman Health, Safety and Security Checklist
For daily night shift inspection use
Location: | SMSA Main Office |  | Checklist Type:
Watchman Name: |  |  | Employee ID:
Date: |  |  | Shift: | Night Shift
Time Started: |  |  | Time Completed:
Supervisor Name:
Emergency Contacts
Contact Type | Name / Position |  |  | Contact Number
Emmergency Number | Police, Fire, Ambulance, etc… |  |  | 911
Main Emergency Contact | Abdullah Al Enazi – National Safety and Security Manager |  |  | 050 444 1348
Secondary Emergency Contact | Mastoura Al Juhani |  |  | 059 954 2168
Admin Emergency Contact | Sami Saeed |  |  | 050 418 3016
IT Emergency Contact | Kashan Khalid – IT National Manager |  |  | 050 024 3542
Instructions
1. The watchman must complete this checklist during the night shift or as instructed by management.
2. Tick the correct box under Yes, No, or N/A. Write details for any issue in the Comments / Action Required column.
3. Urgent safety, security, generator, electrical fluctuation or server room related issues must be reported immediately.
4. The watchman must not enter the server room. It is locked and monitored by IT. Only outside checks and visible electrical fluctuation issues are monitored by the watchman.
No. | Checkpoint | Yes | No | N/A | Comments / Action Required
1. Main Entrance and Building Security
1.1 | Main office entrance is locked and secured. | ☐ | ☐ | ☐
1.2 | Side doors are locked and secured. | ☐ | ☐ | ☐
1.3 | Emergency exits are closed but not blocked. | ☐ | ☐ | ☐
1.4 | No unauthorized person is inside the building. | ☐ | ☐ | ☐
1.5 | Any visitor, contractor, or staff entry during the night is recorded. | ☐ | ☐ | ☐
1.6 | Keys and access cards are controlled and not left unattended. | ☐ | ☐ | ☐
1.7 | No suspicious person or vehicle is seen near the office. | ☐ | ☐ | ☐
1.8 | Lifts, if available, appear normal. | ☐ | ☐ | ☐
1.9 | Doors, windows, and glass areas show no sign of damage or forced entry. | ☐ | ☐ | ☐
2. Internal Office Area
2.1 | Corridors, stairs, and common areas are clear and safe. | ☐ | ☐ | ☐
2.2 | No water leakage is seen inside the office. | ☐ | ☐ | ☐
2.3 | No smoke, burning smell, or unusual smell is noticed. | ☐ | ☐ | ☐
2.4 | Main area lights are working. | ☐ | ☐ | ☐
2.5 | Unused lights and electrical equipment are switched off where required. | ☐ | ☐ | ☐
2.6 | No loose wires, sparks, or unsafe electrical points are seen. | ☐ | ☐ | ☐
2.7 | Pantry / kitchen area is checked and safe. | ☐ | ☐ | ☐
2.8 | No hot plate, kettle, microwave, or other electrical item is left on unsafely. | ☐ | ☐ | ☐
2.9 | Toilets and wash areas are checked for leakage or flooding. | ☐ | ☐ | ☐
2.10 | No boxes, furniture, or materials are blocking walkways. | ☐ | ☐ | ☐
3. Server Room / IT Area
3.1 | Server room door is locked and secured from outside. | ☐ | ☐ | ☐
3.2 | No unauthorized person is seen near or trying to enter the server room. | ☐ | ☐ | ☐
3.3 | No water leakage is noticed near the server room door or surrounding area. | ☐ | ☐ | ☐
3.4 | No smoke, burning smell, or unusual noise is noticed near the server room. | ☐ | ☐ | ☐
3.5 | No boxes, materials, or obstruction are placed in front of the server room door. | ☐ | ☐ | ☐
3.6 | No visible electrical fluctuation or power issue is noticed near the server room area. | ☐ | ☐ | ☐
3.7 | Any electrical fluctuation, power issue, alarm sound, or abnormal condition was reported immediately to IT and QRM. | ☐ | ☐ | ☐
4. Emergency Generator Area
4.1 | Generator area is clean and free from waste. | ☐ | ☐ | ☐
4.2 | No flammable items are kept near the generator. | ☐ | ☐ | ☐
4.3 | No fuel, oil, or water leakage is seen around the generator. | ☐ | ☐ | ☐
4.4 | Generator control panel appears normal and no alarm is showing. | ☐ | ☐ | ☐
4.5 | Generator ventilation area is clear and not blocked. | ☐ | ☐ | ☐
4.6 | Fire extinguisher near the generator is available and not blocked. | ☐ | ☐ | ☐
4.7 | No unauthorized person is near the generator area. | ☐ | ☐ | ☐
4.8 | Generator area lighting is working. | ☐ | ☐ | ☐
4.9 | Any abnormal generator sound, smell, leak, or alarm was reported immediately. | ☐ | ☐ | ☐
5. Fire Safety
5.1 | Fire extinguishers are in place and not blocked. | ☐ | ☐ | ☐
5.2 | Fire hose cabinets are not blocked. | ☐ | ☐ | ☐
5.3 | Fire alarm panel shows normal status, if visible to the watchman. | ☐ | ☐ | ☐
5.4 | No fire alarm fault, warning, or active alarm is noticed. | ☐ | ☐ | ☐
5.5 | Emergency exits are clear from boxes, furniture, or waste. | ☐ | ☐ | ☐
5.6 | Emergency lights / exit signs are working where visible. | ☐ | ☐ | ☐
5.7 | No fire hazard is noticed during the patrol. | ☐ | ☐ | ☐
6. External Area and Parking
6.1 | Outside area was checked during patrol. | ☐ | ☐ | ☐
6.2 | Parking area is safe and clear. | ☐ | ☐ | ☐
6.3 | No suspicious vehicle is noticed near the office. | ☐ | ☐ | ☐
6.4 | External lights are working. | ☐ | ☐ | ☐
6.5 | No damage is seen to gates, doors, windows, or external walls. | ☐ | ☐ | ☐
6.6 | No waste, obstruction, or unsafe item is found outside. | ☐ | ☐ | ☐
6.7 | Drainage areas are clear where visible. | ☐ | ☐ | ☐
6.8 | No water leakage or flooding is noticed outside the building. | ☐ | ☐ | ☐
Issues Found During Inspection
No. | Issue Details | Location | Reported To | Time Reported | Action Taken
1
2
3
Watchman Declaration
I confirm that I completed the above inspection. Any issue found during my duty was recorded and reported to the concerned person.
Watchman Name: |  | Signature:
Time: |  | Date:

## Lists
☐ | Nightly Inspection | Internal helper list for dropdown tick boxes.
☑ | Weekly Inspection
Both